| Table REC 1-9. Federal Energy Regulatory Commission (FERC) Inspection Summary. |
| --- |
| Region | Inspection Date1 | Comment | Follow-Up Letter from FERC | Response Letter from PCWA | Status |
| French Meadows Reservoir Area |
| Ahart Campground | N/A | No Comment | N/A | N/A | N/A |
| Coyote Group Campground | 10/31/00 | Klammath stoves at the Brush Wolf Group Camp Site needed repair or replacement of the cooking surfaces, and some structural work was needed. | 10/11/00 | 11/30/00 | Completed |
|  | 7/20-7/21/05 | Snow loading has damaged the gate that prevents vehicles from entering the prohibited area at the Prairie Wolf Group Campsite. A schedule to repair or replace this gate was requested. | 8/16/05 | 10/5/06 | Completed |
| Poppy Campground | 10/31/00 | Several of the upper sites at the Poppy Boat-In/Hike-In Campground were difficult to locate. Small directional signs along the trail would assist users in finding these sites. One of the pit toilets at the facility was in poor condition, and should be repaired or replaced. | 10/11/00 | 11/30/00 | Completed |
| French Meadows Campground | 8/7/87 | Address the need for additional parking capacity at the group campgrounds. | 9/9/87 10/9/87 4/27/92 | 10/27/87 2/28/89 5/30/89 | Completed |
|  | 10/31/00 | A disabled accessible camp site at the French Meadows Campground was occupied, but the vehicle present did not display a disabled parking permit and many other camp sites were available. Your policy should be to keep such camp sites available for the disabled until all other sites are occupied. | 10/11/00 | 11/30/00 | Completed |
|  |  | Many traffic control barriers and several areas of pavement needed repair. | 10/11/00 | 11/30/00 | Completed |
| Gates Group Campground | 10/31/00 | Klammath stoves at the Ponderosa Camp Site needed repair or replacement of the cooking surfaces, and some structural work was needed. | 10/11/00 | 11/30/00 | Completed |

| Table REC 1-9. Federal Energy Regulatory Commission (FERC) Inspection Summary (continued). |
| --- |
| Region | Inspection Date1 | Comment | Follow-Up Letter from FERC | Response Letter from PCWA | Status |
| French Meadows Reservoir Area (continued) |
| Lewis Campground | 7/20-7/21/05 | Immediate removal of the grass that has grown around the fire ring at Site 37 in the Lewis Family Campground was requested. | 8/16/05 | 10/5/06 | Completed |
|  |  | Not all sites at the Lewis Family Campground have bear-proof food lockers. A camper reported that a bear had entered their vehicle to access food in an ice chest. A schedule to provide bear-proof food lockers at sites in this campground was requested. | 8/16/05 | 10/5/06 | Completed |
| French Meadows Picnic Area | 7/20-7/21/05 | The planks that provide a crossing of the ephemeral stream at the French Meadows Day-Use Area are worn, out of position, and have several large protruding nails. A plan and schedule to improve this crossing is requested. | 8/16/05 | 10/5/06 | Completed |
| French Meadows Boat Ramp | 10/31/00 | The edge of the French Meadows Boat Ramp was cracked in places due to undermining by wave action. These damaged areas need to be repaired. | 10/11/00 | 11/30/00 | Completed |
|  |  | Gravel deposited by wave action on the lower end of the French Meadows Boat Ramp was noted. Such deposits must be removed as they are exposed by falling water levels throughout the summer season. | 10/11/00 | 11/30/00 | Completed |
| McGuire Picnic Area | 8/7/87 | Define the best use of the McGuire Day-Use Area – either its rehabilitation, its conversion, or its removal so as to restore the site to a natural state – and provide a schedule for accomplishing this work. | 9/9/87 10/9/87 4/27/92 | 10/27/87 2/28/89 5/30/89 | Completed |
|  | 10/31/00 | Facilities at the McGuire Point Day-Use Area have deteriorated severely. Sites were overgrown with brush and the access trails are difficult to find. Signs of public use were noted at some sites, while others appear unused. This facility must be restored. | 10/11/00 | 11/30/00 | Completed |

| Table REC 1-9. Federal Energy Regulatory Commission (FERC) Inspection Summary (continued). |
| --- |
| Region | Inspection Date1 | Comment | Follow-Up Letter from FERC | Response Letter from PCWA | Status |
| French Meadows Reservoir Area (continued) |
| McGuire Picnic Area (continued) | 7/20-7/21/05 | The McGuire Point Day-Use Area continues to be a concern, as problems noted during the 2000 Environmental Inspection persist. Trails to access the individual day-use sites are either non-existent or severely overgrown, the legs of one picnic table had sunk into the ground, the informational sign at one entrance was demolished and lying on the ground, multiple piles of cleared brush have been left lying on the ground throughout the area, and vegetation around the cooking stoves is tall enough to pose a wildfire threat. Immediate correction of these deficiencies was requested. | 8/16/05 | 10/5/06 | Completed |
| McGuire Boat Ramp | N/A | No Comment | N/A | N/A | N/A |
| Hell Hole Reservoir Area |
| Big Meadows Campground | 10/31/00 | Several traffic control barriers needed repair. | 10/11/00 | 11/30/00 | Completed |
|  | 7/20-7/21/05 | Some campsites at the Big Meadow Campground are located within an archaeological site. Other sites at this campground have been upgraded, but the upgrading of those sites within the archaeological site have been delayed. Information on the cause of the delay and the schedule to complete the upgrades was requested. | 8/16/05 | 10/5/06 | A cultural resources protection plan was developed in consultation with the ENF and SHPO. The required campground upgrades were subsequently implemented. |
| Hell Hole Campground | 10/31/00 | A small area of pavement needed repair. | 10/11/00 | 11/30/00 | Completed |
|  | 7/20-7/21/05 | Grass has grown around the fire ring at the Hell Hole Family Campground site closest to the lake (site number not observed). Immediate cutting of the grass was requested to eliminate the potential for a wildfire. | 8/16/05 | 10/5/06 | Completed |
| Upper Hell Hole Campground | N/A | No Comment | N/A | N/A | N/A |
| Table REC 1-9. Federal Energy Regulatory Commission (FERC) Inspection Summary (continued). |
| Region | Inspection Date1 | Comment | Follow-Up Letter from FERC | Response Letter from PCWA | Status |
| Hell Hole Reservoir Area (continued) |
| Hell Hole Vista | 7/20-7/21/05 | Several of the stones used to construct the stairs at the Hell Hole Reservoir Overlook were loose and posed a tripping hazard; also, the material used to effect earlier repairs to the stairs (which appears to be a caulking compound) creates a harsh contrast to the original mortar. Grouting the loose stones back into place, and replacement of the caulk with a material similar to the original grout was requested. | 8/16/05 | 10/5/06 | Completed |
|  |  | The panoramic display at the overlook has weathered and is no longer fully legible. A replacement for the display was requested. | 8/16/05 | 9/6/05 10/5/06 | Completed |
| Hell Hole General Parking Area | N/A | No Comment | N/A | N/A | N/A |
| Hell Hole Boat Ramp Parking Area | 10/31/00 | An additional “No Parking – No Driving along the Shoreline” sign is needed at the lower turn out on the boat ramp, and a “30 Minute Parking” sign is needed at the small parking area adjacent to the restroom. | 10/11/00 | 11/30/00 | Completed |
| Hell Hole Boat Ramp | 10/31/00 | A considerable amount of rock debris was noted on the lower end of the Hell Hole Boat Ramp. This material must also be removed whenever it impedes public use of the ramp. | 10/11/00 | 11/30/00 | Completed |
| Ralston Afterbay Area |
| Ralston Picnic Area and Cartop Boat Ramp | 8/7/87 | Describe how use will be managed at the Ralston Afterbay Picnic Area to avoid long-term camping and associated problems. | 9/9/87 10/9/87 4/27/92 | 10/27/87 2/28/89 5/30/89 | Completed |
| Indian Bar Rafting Access | N/A | No Comment | N/A | N/A | N/A |
| Long Canyon Area |
| Middle Meadows Group Campground | N/A | No Comment | N/A | N/A | N/A |

1FERC Environmental Inspection Reports and associated documentation are available at http://www.ferc.gov/docs-filing/elibrary.asp by citing Docket No. P-2079.